## Sheet1
Material Master | Material Description | Quantity | Manufacturer | Manufacturer Part Number | IH # | Category
1000248468 | ANALYZER,COMBUSTIBLES,SMA OXYGEN,SMA2 | 1 | ABB INC | SMA21500 |  | Instrumentation & Controls
1000219958 | COMPUTER,WITH SSNET SOFTWARE | 1 | SCHWEITZER ENGINEERING | SEL-3354 |  | Instrumentation & Controls
1000206200 | HOUSING,SENSOR,W/TERMINAL STRIP | 1 | FOXBORO | K0147CL |  | Instrumentation & Controls
1000421626 | SENSOR,TEMPERATURE,RTD,PT100,5/16IN,90 | 1 | WIKA | ATS10452S1R6V |  | Instrumentation & Controls
1000240889 | SWITCH-LEVEL-8A-250V-V1HD1BO000 | 1 | MAGNETROL INC | V1HD1BO000 |  | Instrumentation & Controls
1000236441 | TRANSMITTER,FLOW,MAGNETIC,8 IN,150 LB | 1 | ABB INSTRUMENTATION | DE41FT2HHP1ASDA4E*13+E4RGD02000E** | IH-52033 | Instrumentation & Controls
1000128415 | TRANSMITTER,FLOWMETER,MAGNETIC | 2 | SPARTAN CONTROLS LTD | 8712DR12N0M4B6DT |  | Instrumentation & Controls
1000219956 | CLOCK-SATELLITE-+1093B10-ARBITER SYS | 1 | ARBITER SYSTEMS INC | 1093B/10/27/93 |  | Instrumentation & Controls
1000042749 | FLOWMETER,WEDGE,6 IN,RF,WN,150 LB | 1 | ABB PROCESS ANALYTICS | X1630LF06051A01221001 |  | Instrumentation & Controls
1000249460 | IGNITER,GAS,3 IN | 1 | ABB COMBUSTION SERVICES | 999667 |  | Instrumentation & Controls
1000231955 | INDICATING AND RECORDING INSTR | 1 | YOKAGOWA | YF120-AAUA1A-S3S3?E/CSF/HART |  | Instrumentation & Controls
1000009289 | INDICATOR,PRESSURE,AIR GAUGE | 1 | CATERPILLAR | 1W3306 |  | Instrumentation & Controls
1000430812 | MODULE,CONTROL,TRANSFER TRIP,REMOTE I/O | 1 | SCHWEITZER ENGINEERING | SEL-250603314X |  | Instrumentation & Controls
1000386678 | MODULE,REDUNDANCY,CONTROLLOGIX | 1 | ROCKWELL AUTOMATION | 1756-RM |  | Instrumentation & Controls
1000193020 | MODULE,TUBE,PHOTOMULTIPLIER | 2 | SIEMENS AG | 1270005-001 |  | Instrumentation & Controls
1000016326 | MONITOR-FLARE-+WDV2R5V-NEOTROL | 1 | NEOTROL | WDV2R5 VHV2R5 P |  | Instrumentation & Controls
1000512633 | POWER-MODULE-NIDEC ASI- USE 1000540349 | 1 | NIDEC CORPORATION | 1000155199 |  | Instrumentation & Controls
1000541254 | POWER-MODULE-NIDEC ASI-1000155199-OEM | 1 | NIDEC CORPORATION | 1000155199 |  | Instrumentation & Controls
1000541255 | POWER-MODULE-NIDEC ASI-1000177238-OEM | 1 | NIDEC CORPORATION | 1000177238 |  | Instrumentation & Controls
1000128372 | RECTIFIER,POWER SUPPLY | 2 | SIEMENS AG | 0000-7933-00 |  | Instrumentation & Controls
1000518111 | RELAY-MANAGEMENT-GENERAL ELECTRIC | 2 | GENERAL ELECTRIC | A8TG38L6N8L6N4L6D |  | Instrumentation & Controls
1000541260 | TRANSISTOR-POWER-IGBT-NIDEC-1000146144 | 1 | NIDEC CORPORATION | 1000146144 |  | Instrumentation & Controls
1000064778 | SENDER,FUEL,LEVEL | 2 | CATERPILLAR | 1380443 |  | Instrumentation & Controls