## Sheet1
IH Number | Material Master | Material Description | Quantity | Manufacturer | Manufacturer Part Number | Auction Category
IH-57095 | 1000249460 | IGNITER,GAS,3 IN | 1 | ABB COMBUSTION SERVICES | 999667 | Electrical & Instrumentation
| 1000248468 | ANALYZER,COMBUSTIBLES,SMA OXYGEN,SMA2 | 1 | ABB INC | SMA21500 | Electrical & Instrumentation
| 1000042749 | FLOWMETER,WEDGE,6 IN,RF,WN,150 LB | 1 | ABB PROCESS ANALYTICS | X1630LF06051A01221001 | Electrical & Instrumentation
| 1000219956 | CLOCK-SATELLITE-+1093B10-ARBITER SYS | 1 | ARBITER SYSTEMS INC | 1093B/10/27/93 | Electrical & Instrumentation
| 1000418486 | BREAKER,CIRCUIT,MOLDED CASE,15A,2P | 1 | CUTLER-HAMMER | GBH2015-2P | Electrical & Instrumentation
| 1000193017 | DETECTOR,ASSEMBLY,FPD | 2 | SIEMENS AG | 2021655-001 | Electrical & Instrumentation
| 1000128415 | TRANSMITTER,FLOWMETER,MAGNETIC | 2 | SPARTAN CONTROLS LTD | 8712DR12N0M4B6DT | Electrical & Instrumentation
| 1000508581 | BREAKER-VACUUM-6IN-VALVE-VAL-MATIC | 1 | VAL-MATIC VALVE & MANUFACTURING COR | 306SSXSV/49ASV | Electrical & Instrumentation
| 1000193020 | MODULE,TUBE,PHOTOMULTIPLIER | 2 | SIEMENS AG | 1270005-001 | Electrical & Instrumentation
| 1000128372 | RECTIFIER,POWER SUPPLY | 2 | SIEMENS AG | 0000-7933-00 | Electrical & Instrumentation
| 1000390902 | CAPACITOR,C/W INTEGRAL RESISTOR,0.5UF | 1 | ROCKWELL AUTOMATION | 80169-038-01-R | Electrical & Instrumentation
| 1000386678 | MODULE,REDUNDANCY,CONTROLLOGIX | 1 | ROCKWELL AUTOMATION | 1756-RM | Electrical & Instrumentation
| 1000219958 | COMPUTER,WITH SSNET SOFTWARE | 1 | SCHWEITZER ENGINEERING | SEL-3354 | Electrical & Instrumentation
| 1000430812 | MODULE,CONTROL,TRANSFER TRIP,REMOTE I/O | 1 | SCHWEITZER ENGINEERING | SEL-250603314X | Electrical & Instrumentation
| 1000016326 | MONITOR-FLARE-+WDV2R5V-NEOTROL | 1 | NEOTROL | WDV2R5 VHV2R5 P | Electrical & Instrumentation
| 1000512633 | POWER-MODULE-NIDEC ASI- USE 1000540349 | 1 | NIDEC CORPORATION | 1000155199 | Electrical & Instrumentation
| 1000541254 | POWER-MODULE-NIDEC ASI-1000155199-OEM | 1 | NIDEC CORPORATION | 1000155199 | Electrical & Instrumentation
| 1000541255 | POWER-MODULE-NIDEC ASI-1000177238-OEM | 1 | NIDEC CORPORATION | 1000177238 | Electrical & Instrumentation
| 1000541260 | TRANSISTOR-POWER-IGBT-NIDEC-1000146144 | 1 | NIDEC CORPORATION | 1000146144 | Electrical & Instrumentation
| 1000421626 | SENSOR,TEMPERATURE,RTD,PT100,5/16IN,90 | 1 | WIKA | ATS10452S1R6V | Electrical & Instrumentation
| 1000231955 | INDICATING AND RECORDING INSTR | 1 | YOKAGOWA | YF120-AAUA1A-S3S3?E/CSF/HART | Electrical & Instrumentation
| 1000240889 | SWITCH-LEVEL-8A-250V-V1HD1BO000 | 1 | MAGNETROL INC | V1HD1BO000 | Electrical & Instrumentation