## E&I Lot
Manufacturer | MM | MPN | Material Description | QTY | Aging
Patton & Cooke Co | 1002005188 | PK5S-M16A | Plug CORD TRAILING CABLE 3PHASE 250A | 2 | 6-8Yrs
Ferraz Shawmut | 1002005562 | A480R-18R-1 | Fuse SHAWMUT A480R-18R-1 | 2 | 4-5Yrs
Eagle Signal Controls | 1002007027 | HG104A6 | Timer ON/OFF 120 VAC 0-10 MIN | 1 | 1-3Yrs
Crouse Hinds | 1002007170 | ARE-3422 | Receptacle SERVICE OUTLET 30 A | 6 | 6-8Yrs
Honeywell Limited | 1002019481 | 191053 | Tube HONEYWELL 191053 | 1 | 4-5Yrs
Asco Red-Hat | 1002037044 | TP8101-1CONTROL | Solenoid TP8101-1CONTROL | 14 | 1-3Yrs
Pepperl + Fuchs | 1002050724 | 911113 | Power 6 POSITION 300 VAC 30 A | 1 | 3-4Yrs
Crouse Hinds | 1002052537 | N2MVS100/TT BG | Housing BALLAST 100 W/120 V | 4 | 8-10Yrs
Honeywell Limited | 1002059308 | 3-CPU3 | Controller MODULE/MAIN CPU 3-CPU3 | 1 | 6-8Yrs
Honeywell Limited | 1002059309 | 3DSDC1 | Controller DR SGL SIGN DATA LOOP 3DSDC1 | 1 | 6-8Yrs
Panametrics Inc. | 1002065259 | T5-90-10-56.25"-HT-TI-AX | Transducer FLARE GAS PANAMETRIC INC | 1 | 8-10Yrs
Rotork | 1002073233 | WIQ80165 | Module Input REMOTE WIQ80165 ROTORK | 1 | 1-3Yrs
Honeywell Limited | 1002076067 | 3-NSHM1 | Modem NETWORK 3-NSHM1 HONEYWELL | 1 | 1-3Yrs
Bently Nevada | 1002078914 | 330850-90-05 | Proximeter BENTLY NEVADA 330850-90-05 | 1 | 3-4Yrs
Cidra | 1002082610 | 20386-3001-01 | Sensor ASSY CIDRA 20386-3001-01 HEAD | 1 | 10+Yrs
Det-tronics | 1002082861 | 005744-001 | Cell DET TRONICS 005744-001 | 1 | 5-6Yrs
Cidra | 1002084569 | 20686-24-1-R | Band ASSY CIDRA 20686-24-1-R | 1 | 8-10Yrs
Eaton Corp | 1002112067 | VMV5L2C/UNV1 | Light Fixture EATON VMV5L2C/UNV1 | 2 | 8-10Yrs
Eaton Corp | 1002112069 | VMV9L2A/UNV1 | Light Fixture EATON VMV9L2A/UNV1 | 2 | 5-6Yrs
Fireye LLC | 1002116261 | 95DISP-1 | Display FIREYE 95DISP-1 | 1 | 1-3Yrs