## Sheet10
PN | Description | MPN | Supplier | QTY
00015950000 | K4LCN-16MW board P/N: #51403519-160 Honeywell | 51403519-160 | HONEYWELL (** service CDN$ **) | 1
00020183005 | SEL 710 feeder protection relay with touchscreen, expansion input/output module |  | MDL ENERGIE INC | 1
00015942039 | TC-Cell ALV CPL Closed Ref sid P/N: 42715931 for Rosemount CAT 100 (AE-5200 and AE-8201) | 42715931 | Contrôles Laurentides Ltée | 1
00015121012 | Fiber Optic UV 72" P/N #2690-022-072 (Ref. CE-08, CE-10, Coen) UV quartz fiber optic 72" | 2690-022-072 | JOHN ZINK COMPANY LLC | 2
00015944114 | Valve, Pneumatic, double block & bleed P/N 4-5000-942 for gas chromatograph Rosemount 700XA (no substitute) | 4-5000-942 | Contrôles Laurentides Ltée | 1
00020150504 | Direct current alarm Moore Industry Flow switch DCA/4-20MA/SL1/117VAC/-DPDT (PT) Input 4-20 mA current Output: Single low (Failsafe) (single, low) Power 117 VAC, double relay option Without enclosure | DCA/4-20MA/SL1/117VAC/-DPDT (PT) | CONTRÔLES PROVAN | 1
00020151081 | P/N 176449-02 3500/42M proximitor/seismic monitor Spare part for 3500/42 3500 proximitor/seismic monitor - Bently Nevada | 176449-02 | Baker Hughes Energy Services Canada Inc. DBA Bently Nevada div. of | 1
00020152102 | Brooks metal tube flowmeter series 3810G Model 3810GAD12CAAA1A00000 RANGE KING 3.5-35 USGPM, 1-1/2" NPT 316 316L SS FLOAT, 0-100% INDICATION (OLD# ABB KING 7711-2-3-0-724 FISCHER & PORTER P/N 999A001U23 SERIES 10A2227ABXXX51) | 3810GAD12CAAA1A00000 | POLYCONTROLS INC. | 1
00020150104 | Differential Pressure Transmitter, 0-1 TO 0-100 PSID HONEYWELL P/N STD730-E1HS6AS-1-B-AD0-11S-A-10A6 *** NO SUBSTITUTE *** OLD P/N: STD930-E1H-00000-S2, MB, SV, SM, C1C3 | STD730-E1HS6AS-1-B-AD0-11S-A-10A6 | THERMO-KINETICS COMPANY LTD | 1
00020152702 | Switch Vibration Metrix model 450SR-2040-0020 Originally purchased from BHD Instrumentation | 450SR-2040-0020 | CTH CONTROLE INDUSTRIEL | 1
00020156111 | CELL #42715718 FOR H2 ANALYSER ROSEMOUNT BINOS 100 REF. UNIT 8 | 42715718 | ROMATEC/CONVAL (ne plus utiliser) | 1
00020183010 | Protective relay Multilin SR-350 for 6900 volts feeder Model 350-E-P5-G5-H-E-S-N-N-SN-D-N | 350-E-P5-G5-H-E-S-N-N-SN-D-N | MDL ENERGIE INC | 1
00020151082 | P/N 140471-01 prox/velom I/O module with internal terminations Spare part for 3500/42 3500 proximitor/seismic monitor - Bently Nevada | 140471-01 | Baker Hughes Energy Services Canada Inc. DBA Bently Nevada div. of | 1
00020166150 | Positioner DVC-6200-100/HC/G60B-MTGDVCNC-136F with mounting kit | DVC-6200-100/HC/G60B-MTGDVCNC-136F | Contrôles Laurentides Ltée | 1
00015944140 | Power Supply 24VDC 185W P/N 2-5-3200-038 for gas chromatograph Rosemount 700XA (no substitute) | 2-5-3200-038 | Contrôles Laurentides Ltée | 1
00015121014 | Lens carrier assembly, skewed 7 degrees: P/N 2639-533-07 (for COEN fiber optic ref. CE-08, CE-10. 7-degree lens for fiber optic | 2639-533-07 | JOHN ZINK COMPANY LLC | 3
00015942008 | Signal processing board P/N: 43004630 for Rosemount CAT 100 (AE-5200) | 43004630 | ROMATEC/CONVAL (ne plus utiliser) | 1
00020152123 | D10A32.2.5.xx.A.4.T.T.A.0.C.0.A.1.P.1.Y0-42H.S.A ABB fan 3200 indicateur flow meter | D10A32.2.5.xx.A.4.T.T.A.0.C.0.A.1.P.1.Y0-42H.S.A | EVEREST AUTOMATION | 1
00018250402 | Timer Agastat 6-60 minutes #7012AI Coil: 120 VAC 60 Hz | 7012AI | GRAY ELECTRIQUES INC | 2
00015944141 | Kit 9K Thermistors C/9061 P/N: 2-6-1611-083 for gas chromatograph Rosemount 700XA (no substitute) | 2-6-1611-083 | Contrôles Laurentides Ltée | 2
00015944132 | Pressure switch carrier P/N 2-4-0710-266 for gas chromatograph Rosemount 700XA (no substitute) | 2-4-0710-266 | Contrôles Laurentides Ltée | 1
00015111226 | POWER SUPPLY 24.V GROUNDED LAMBDA PART #LMD-24 P/N 1945105A23 CO BOILER #10 #8 | 1945105A23 | AVNET | 1
00015944110 | Valve, metering 1/8" P/N 4-5000-373 for gas chromatograph Rosemount 700XA (no substitute) | 4-5000-373 | Contrôles Laurentides Ltée | 1
00015944118 | Carrier gas regulator 60-110 PSI P/N 2-4-9500-084 for gas chromatograph Rosemount 700XA (no substitute) | 2-4-9500-084 | Contrôles Laurentides Ltée | 1
00008010621 | LIMIT SWITCH A-B #801-NX8 847340-0011 FOR IK525-IK545 BLOWER CE CONTRACT #CA-77109 G-42-SP-78-36 / 08010-621 | 801-NX8 / 847340-0011 | LUMEN | 1
00015942036 | Front panel assy CAT 100 P/N: 42715729 for Rosemount CAT 100 (AE-5200 and AE-8201) | 42715729 | ROMATEC/CONVAL (ne plus utiliser) | 1
00015131001 | ELECTRODE PLUG ASSY P/N 109077-000A DIAMOND POWER SPECIALTY CO., ENGLAND CE-08, CE-10 ALARM AND S/D | 109077-000A | Diamond Canapower, a division of Babcock & Wilcox Canada Corp | 4
00015944126 | Solenoid Valve, 3-way, 24 V P/N 2-4-0700-124 for gas chromatograph Rosemount 700XA (no substitute) | 2-4-0700-124 | Contrôles Laurentides Ltée | 1
00007002704 | Glass, item # 3 Quartz Q-20 STE lensV-20 STE for Safe-T-Eye observation port model 20 (for four H-1 ) | lensV-20 | SAF Industrial Viewports LLC (anciennement TATE-JONES, INC) | 2